## information
The residual load curve results from the sum of all measured inputs minus all measured offtakes in a network. The calculated residual load curve represents approximatly the actual gas consumption of the SLP-customers. The values ​​listed in the "data sheet" tab are summed up for all network operators in the market area. The data up to October 1st, 2021 is assembled formed from the sum of the two market areas Gaspool and NetConnect Germany.

## data sheet
Please be aware of the clearing period. The datas are in a final status after M+2M-10 WD.
Gasday | residual load curve [kWh]* | *Please note that Trading Hub Europe cannot assume any responsibility for the correctness of the data.
2018-01-01 | 1645550789
2018-01-02 | 1817341902
2018-01-03 | 1801498808
2018-01-04 | 1731836533
2018-01-05 | 1665812620
2018-01-06 | 1722507046
2018-01-07 | 2011567400
2018-01-08 | 2166971075
2018-01-09 | 2055070585
2018-01-10 | 1881816040
2018-01-11 | 1906527734
2018-01-12 | 1958054564
2018-01-13 | 2033780707
2018-01-14 | 2196563251
2018-01-15 | 2191918752
2018-01-16 | 2088871859
2018-01-17 | 2243063736
2018-01-18 | 2133815254
2018-01-19 | 2160948581
2018-01-20 | 2159649197
2018-01-21 | 2187068655
2018-01-22 | 2127982747
2018-01-23 | 1897612540
2018-01-24 | 1576742866
2018-01-25 | 1588781182
2018-01-26 | 1676271078
2018-01-27 | 1749655197
2018-01-28 | 1647691901
2018-01-29 | 1623655528
2018-01-30 | 1790030843
2018-01-31 | 1779859998
2018-02-01 | 2012282855
2018-02-02 | 2061255452
2018-02-03 | 2119450083
2018-02-04 | 2289180393
2018-02-05 | 2413636943
2018-02-06 | 2518659407
2018-02-07 | 2535273214
2018-02-08 | 2572224505
2018-02-09 | 2511845610
2018-02-10 | 2359278302
2018-02-11 | 2255878858
2018-02-12 | 2332797044
2018-02-13 | 2341408686
2018-02-14 | 2364297443
2018-02-15 | 2371734819
2018-02-16 | 2143818651
2018-02-17 | 2249429366
2018-02-18 | 2212829185
2018-02-19 | 2277972986
2018-02-20 | 2323723282
2018-02-21 | 2356964174
2018-02-22 | 2436888533
2018-02-23 | 2523588875
2018-02-24 | 2609029066
2018-02-25 | 2766745531
2018-02-26 | 3016095486
2018-02-27 | 3104111392
2018-02-28 | 3275483222
2018-03-01 | 3187654091
2018-03-02 | 3049605261
2018-03-03 | 2774518405
2018-03-04 | 2277258386
2018-03-05 | 1938318390
2018-03-06 | 1907212850
2018-03-07 | 1911494051
2018-03-08 | 1827795949
2018-03-09 | 1744896795
2018-03-10 | 1469704363
2018-03-11 | 1258328453
2018-03-12 | 1331528559
2018-03-13 | 1564817957
2018-03-14 | 1681664162
2018-03-15 | 1692266642
2018-03-16 | 1965627060
2018-03-17 | 2462862895
2018-03-18 | 2550326777
2018-03-19 | 2460926015
2018-03-20 | 2353105009
2018-03-21 | 2198384654
2018-03-22 | 2145924977
2018-03-23 | 1932226213
2018-03-24 | 1619908401
2018-03-25 | 1554011245
2018-03-26 | 1649220112
2018-03-27 | 1612188742
2018-03-28 | 1662555583
2018-03-29 | 1695978622
2018-03-30 | 1489765271
2018-03-31 | 1505647494
2018-04-01 | 1672925579
2018-04-02 | 1444097809
2018-04-03 | 1046926967
2018-04-04 | 988537338
2018-04-05 | 1290504405
2018-04-06 | 1215075927
2018-04-07 | 859077629
2018-04-08 | 679118645
2018-04-09 | 664032764
2018-04-10 | 664656434
2018-04-11 | 783579488
2018-04-12 | 720683877
2018-04-13 | 792310614
2018-04-14 | 765598429
2018-04-15 | 701845072
2018-04-16 | 683702812
2018-04-17 | 602978409
2018-04-18 | 490398544
2018-04-19 | 398974664
2018-04-20 | 357868676
2018-04-21 | 360793594
2018-04-22 | 347465378
2018-04-23 | 387674309
2018-04-24 | 510818961
2018-04-25 | 566824875
2018-04-26 | 719873793
2018-04-27 | 636818344
2018-04-28 | 552242630
2018-04-29 | 485312239
2018-04-30 | 560496199
2018-05-01 | 775590987
2018-05-02 | 681480670
2018-05-03 | 628678968
2018-05-04 | 568590488
2018-05-05 | 483943514
2018-05-06 | 403950143
2018-05-07 | 353620365
2018-05-08 | 318414280
2018-05-09 | 304163470
2018-05-10 | 353583166
2018-05-11 | 376401890
2018-05-12 | 319002661
2018-05-13 | 339441063
2018-05-14 | 331652013
2018-05-15 | 337469465
2018-05-16 | 390788075
2018-05-17 | 449412196
2018-05-18 | 481733148
2018-05-19 | 449631202
2018-05-20 | 379770555
2018-05-21 | 326799690
2018-05-22 | 299603812
2018-05-23 | 294182248
2018-05-24 | 302749732
2018-05-25 | 274573317
2018-05-26 | 253696599
2018-05-27 | 245744003
2018-05-28 | 219866831
2018-05-29 | 219756831
2018-05-30 | 217464843
2018-05-31 | 209343978
2018-06-01 | 222923639
2018-06-02 | 235807399
2018-06-03 | 229231564
2018-06-04 | 225850723
2018-06-05 | 241689705
2018-06-06 | 228547781
2018-06-07 | 219921371
2018-06-08 | 219512087
2018-06-09 | 217105879
2018-06-10 | 209545505
2018-06-11 | 221551546
2018-06-12 | 268717069
2018-06-13 | 323107600
2018-06-14 | 293475884
2018-06-15 | 262103098
2018-06-16 | 244984408
2018-06-17 | 246108304
2018-06-18 | 253368905
2018-06-19 | 252394240
2018-06-20 | 227789572
2018-06-21 | 269202747
2018-06-22 | 349637179
2018-06-23 | 361031780
2018-06-24 | 360684735
2018-06-25 | 333288026
2018-06-26 | 317190881
2018-06-27 | 273695480
2018-06-28 | 258477222
2018-06-29 | 229959874
2018-06-30 | 220799786
2018-07-01 | 230900353
2018-07-02 | 238473790
2018-07-03 | 221942462
2018-07-04 | 221565105
2018-07-05 | 221411251
2018-07-06 | 231714240
2018-07-07 | 225627274
2018-07-08 | 221810923
2018-07-09 | 229877698
2018-07-10 | 263912569
2018-07-11 | 283596818
2018-07-12 | 250519963
2018-07-13 | 232998376
2018-07-14 | 220265568
2018-07-15 | 214061275
2018-07-16 | 214619906
2018-07-17 | 205951975
2018-07-18 | 209714695
2018-07-19 | 210916195
2018-07-20 | 202759645
2018-07-21 | 202716567
2018-07-22 | 204407499
2018-07-23 | 199197408
2018-07-24 | 182669433
2018-07-25 | 178174143
2018-07-26 | 179274155
2018-07-27 | 171270484
2018-07-28 | 175669860
2018-07-29 | 178959199
2018-07-30 | 165416452
2018-07-31 | 166525328
2018-08-01 | 176347484
2018-08-02 | 174097280
2018-08-03 | 168302171
2018-08-04 | 169389053
2018-08-05 | 170652735
2018-08-06 | 171085113
2018-08-07 | 166351154
2018-08-08 | 173471192
2018-08-09 | 170373915
2018-08-10 | 200002780
2018-08-11 | 210865669
2018-08-12 | 202478533
2018-08-13 | 205150248
2018-08-14 | 211320951
2018-08-15 | 211972049
2018-08-16 | 204454762
2018-08-17 | 198264739
2018-08-18 | 206336504
2018-08-19 | 195276739
2018-08-20 | 196427633
2018-08-21 | 199617067
2018-08-22 | 201514026
2018-08-23 | 192622658
2018-08-24 | 212416464
2018-08-25 | 277280241
2018-08-26 | 285090320
2018-08-27 | 279407245
2018-08-28 | 263186867
2018-08-29 | 243637534
2018-08-30 | 267232144
2018-08-31 | 306565243
2018-09-01 | 310124014
2018-09-02 | 304191972
2018-09-03 | 273272512
2018-09-04 | 258315308
2018-09-05 | 216745777
2018-09-06 | 253579505
2018-09-07 | 280514548
2018-09-08 | 305707893
2018-09-09 | 282210143
2018-09-10 | 268116160
2018-09-11 | 261847353
2018-09-12 | 271500086
2018-09-13 | 310996394
2018-09-14 | 317865251
2018-09-15 | 331496315
2018-09-16 | 326539038
2018-09-17 | 296433761
2018-09-18 | 264153523
2018-09-19 | 246651486
2018-09-20 | 234618572
2018-09-21 | 279027348
2018-09-22 | 378131388
2018-09-23 | 493113440
2018-09-24 | 642687642
2018-09-25 | 731923537
2018-09-26 | 717798649
2018-09-27 | 566863357
2018-09-28 | 668975871
2018-09-29 | 770946409
2018-09-30 | 763473446
2018-10-01 | 883780062
2018-10-02 | 1054020635
2018-10-03 | 919704207
2018-10-04 | 872587860
2018-10-05 | 710699347
2018-10-06 | 596055222
2018-10-07 | 719389487
2018-10-08 | 798107270
2018-10-09 | 740213481
2018-10-10 | 628907493
2018-10-11 | 535682621
2018-10-12 | 454371068
2018-10-13 | 411889836
2018-10-14 | 429035464
2018-10-15 | 468238368
2018-10-16 | 501425105
2018-10-17 | 530746750
2018-10-18 | 621471805
2018-10-19 | 755999329
2018-10-20 | 848934440
2018-10-21 | 902408833
2018-10-22 | 1037589029
2018-10-23 | 1139326994
2018-10-24 | 1008789734
2018-10-25 | 981890430
2018-10-26 | 1077262368
2018-10-27 | 1322703050
2018-10-28 | 1541551524
2018-10-29 | 1596207486
2018-10-30 | 1513748284
2018-10-31 | 1424668005
2018-11-01 | 1374383194
2018-11-02 | 1330083251
2018-11-03 | 1397993216
2018-11-04 | 1335440028
2018-11-05 | 1209927365
2018-11-06 | 1155845995
2018-11-07 | 1106971204
2018-11-08 | 1141691801
2018-11-09 | 1170627387
2018-11-10 | 1127049624
2018-11-11 | 1092704166
2018-11-12 | 1067032042
2018-11-13 | 1202113962
2018-11-14 | 1352668808
2018-11-15 | 1525841124
2018-11-16 | 1632332010
2018-11-17 | 1778018865
2018-11-18 | 1912815938
2018-11-19 | 1995130660
2018-11-20 | 2117500169
2018-11-21 | 2145522172
2018-11-22 | 2099857894
2018-11-23 | 2036434865
2018-11-24 | 1936717449
2018-11-25 | 1867211761
2018-11-26 | 1945023678
2018-11-27 | 2085102647
2018-11-28 | 2147115797
2018-11-29 | 1984518415
2018-11-30 | 1825585735
2018-12-01 | 1707382327
2018-12-02 | 1485150853
2018-12-03 | 1332375200
2018-12-04 | 1643586101
2018-12-05 | 1861643346
2018-12-06 | 1579470123
2018-12-07 | 1430745174
2018-12-08 | 1593852538
2018-12-09 | 1660556715
2018-12-10 | 1921823802
2018-12-11 | 2003759186
2018-12-12 | 2087528634
2018-12-13 | 2228943102
2018-12-14 | 2319051613
2018-12-15 | 2408013360
2018-12-16 | 2400605204
2018-12-17 | 2206010863
2018-12-18 | 2069077546
2018-12-19 | 2034573661
2018-12-20 | 1871180647
2018-12-21 | 1662348512
2018-12-22 | 1568436451
2018-12-23 | 1593446142
2018-12-24 | 1855214191
2018-12-25 | 1952260531
2018-12-26 | 2037398244
2018-12-27 | 2065180005
2018-12-28 | 2053819714
2018-12-29 | 1940178216
2018-12-30 | 1813023340
2018-12-31 | 1710972695
2019-01-01 | 696229906
2019-01-02 | 2140348303
2019-01-03 | 2302012492
2019-01-04 | 2200122399
2019-01-05 | 1975276697
2019-01-06 | 1952643892
2019-01-07 | 1981341638
2019-01-08 | 2046639001
2019-01-09 | 2251167534
2019-01-10 | 2337366362
2019-01-11 | 2215158062
2019-01-12 | 2021973083
2019-01-13 | 1899191192
2019-01-14 | 2138072886
2019-01-15 | 2086602785
2019-01-16 | 1996667042
2019-01-17 | 2101529480
2019-01-18 | 2353836834
2019-01-19 | 2481994565
2019-01-20 | 2652446424
2019-01-21 | 2796296651
2019-01-22 | 2798917779
2019-01-23 | 2862176094
2019-01-24 | 2898319422
2019-01-25 | 2750579718
2019-01-26 | 2292293146
2019-01-27 | 2103159570
2019-01-28 | 2307491543
2019-01-29 | 2386561947
2019-01-30 | 2483761249
2019-01-31 | 2454796168
2019-02-01 | 2355412369
2019-02-02 | 2269778794
2019-02-03 | 2323443249
2019-02-04 | 2353718778
2019-02-05 | 2304792866
2019-02-06 | 2229270250
2019-02-07 | 2120115793
2019-02-08 | 1925943480
2019-02-09 | 1772878013
2019-02-10 | 1814427443
2019-02-11 | 2032127330
2019-02-12 | 2085978371
2019-02-13 | 1985420533
2019-02-14 | 1898132269
2019-02-15 | 1742048863
2019-02-16 | 1610490649
2019-02-17 | 1586402148
2019-02-18 | 1560682378
2019-02-19 | 1653357018
2019-02-20 | 1642689842
2019-02-21 | 1544594152
2019-02-22 | 1599054229
2019-02-23 | 1788795394
2019-02-24 | 1705100502
2019-02-25 | 1570141770
2019-02-26 | 1478805986
2019-02-27 | 1356345664
2019-02-28 | 1341456842
2019-03-01 | 1511062049
2019-03-02 | 1531424010
2019-03-03 | 1380574664
2019-03-04 | 1483142265
2019-03-05 | 1665318314
2019-03-06 | 1463627649
2019-03-07 | 1401109827
2019-03-08 | 1521227919
2019-03-09 | 1502597693
2019-03-10 | 1612904653
2019-03-11 | 1908105466
2019-03-12 | 1748382733
2019-03-13 | 1782257052
2019-03-14 | 1818264630
2019-03-15 | 1637988573
2019-03-16 | 1524045989
2019-03-17 | 1550287868
2019-03-18 | 1751302762
2019-03-19 | 1712520078
2019-03-20 | 1560390346
2019-03-21 | 1316542982
2019-03-22 | 1133277444
2019-03-23 | 1175841182
2019-03-24 | 1287804695
2019-03-25 | 1541935720
2019-03-26 | 1596008819
2019-03-27 | 1466726586
2019-03-28 | 1321936654
2019-03-29 | 1101078406
2019-03-30 | 920865245
2019-03-31 | 1107433579
2019-04-01 | 1168239726
2019-04-02 | 1056508724
2019-04-03 | 1125632338
2019-04-04 | 1302267982
2019-04-05 | 1321620439
2019-04-06 | 1013794620
2019-04-07 | 853245435
2019-04-08 | 889350149
2019-04-09 | 1029528341
2019-04-10 | 1203422272
2019-04-11 | 1360971945
2019-04-12 | 1568322802
2019-04-13 | 1633801613
2019-04-14 | 1562872881
2019-04-15 | 1221094935
2019-04-16 | 1029204751
2019-04-17 | 898909356
2019-04-18 | 716792813
2019-04-19 | 582104332
2019-04-20 | 550103054
2019-04-21 | 520271373
2019-04-22 | 498108515
2019-04-23 | 497854960
2019-04-24 | 453722109
2019-04-25 | 461529206
2019-04-26 | 613061466
2019-04-27 | 763593086
2019-04-28 | 895262545
2019-04-29 | 973996464
2019-04-30 | 830644426
2019-05-01 | 778913263
2019-05-02 | 833074093
2019-05-03 | 977691408
2019-05-04 | 1205726410
2019-05-05 | 1227309794
2019-05-06 | 1243519811
2019-05-07 | 1128249106
2019-05-08 | 1055307635
2019-05-09 | 909051477
2019-05-10 | 880961513
2019-05-11 | 952344887
2019-05-12 | 981438825
2019-05-13 | 925430896
2019-05-14 | 930116117
2019-05-15 | 921243950
2019-05-16 | 972199277
2019-05-17 | 808138615
2019-05-18 | 564111616
2019-05-19 | 488162523
2019-05-20 | 552476797
2019-05-21 | 663037172
2019-05-22 | 680252235
2019-05-23 | 542516984
2019-05-24 | 441400463
2019-05-25 | 479927514
2019-05-26 | 451996057
2019-05-27 | 443864561
2019-05-28 | 543601370
2019-05-29 | 562185750
2019-05-30 | 482350952
2019-05-31 | 367254364
2019-06-01 | 301903883
2019-06-02 | 258241363
2019-06-03 | 253949306
2019-06-04 | 253475406
2019-06-05 | 229347128
2019-06-06 | 292196980
2019-06-07 | 290049757
2019-06-08 | 321237261
2019-06-09 | 293480421
2019-06-10 | 279066095
2019-06-11 | 286539720
2019-06-12 | 310032595
2019-06-13 | 295897111
2019-06-14 | 253743588
2019-06-15 | 248142516
2019-06-16 | 269938683
2019-06-17 | 244883494
2019-06-18 | 226485972
2019-06-19 | 208953349
2019-06-20 | 223950751
2019-06-21 | 248145579
2019-06-22 | 241582940
2019-06-23 | 227848971
2019-06-24 | 202970443
2019-06-25 | 198339234
2019-06-26 | 195931813
2019-06-27 | 213001716
2019-06-28 | 218752811
2019-06-29 | 196138416
2019-06-30 | 181937841
2019-07-01 | 197830923
2019-07-02 | 225335398
2019-07-03 | 241366030
2019-07-04 | 258847308
2019-07-05 | 242111553
2019-07-06 | 231929590
2019-07-07 | 273056504
2019-07-08 | 314400095
2019-07-09 | 331605469
2019-07-10 | 297154290
2019-07-11 | 286848885
2019-07-12 | 272096103
2019-07-13 | 282704459
2019-07-14 | 305869620
2019-07-15 | 320733788
2019-07-16 | 331844201
2019-07-17 | 292324434
2019-07-18 | 254912281
2019-07-19 | 228239827
2019-07-20 | 221597698
2019-07-21 | 220599989
2019-07-22 | 213438483
2019-07-23 | 198811878
2019-07-24 | 186140058
2019-07-25 | 175864230
2019-07-26 | 178249468
2019-07-27 | 172865253
2019-07-28 | 189760272
2019-07-29 | 198340695
2019-07-30 | 197766751
2019-07-31 | 206528602
2019-08-01 | 209960640
2019-08-02 | 208637209
2019-08-03 | 218261510
2019-08-04 | 212755058
2019-08-05 | 208483857
2019-08-06 | 204523701
2019-08-07 | 222121911
2019-08-08 | 218477140
2019-08-09 | 212528723
2019-08-10 | 206953756
2019-08-11 | 214188251
2019-08-12 | 231412022
2019-08-13 | 272078743
2019-08-14 | 274902903
2019-08-15 | 274605923
2019-08-16 | 259704032
2019-08-17 | 245600012
2019-08-18 | 251747134
2019-08-19 | 248468010
2019-08-20 | 277405953
2019-08-21 | 282488323
2019-08-22 | 261397289
2019-08-23 | 245631024
2019-08-24 | 219171552
2019-08-25 | 201228389
2019-08-26 | 196973229
2019-08-27 | 197936959
2019-08-28 | 189268984
2019-08-29 | 201218615
2019-08-30 | 205735891
2019-08-31 | 193949368
2019-09-01 | 210388064
2019-09-02 | 253661053
2019-09-03 | 281732770
2019-09-04 | 270532531
2019-09-05 | 327129826
2019-09-06 | 353797683
2019-09-07 | 371928806
2019-09-08 | 426008676
2019-09-09 | 477490838
2019-09-10 | 476865458
2019-09-11 | 431236415
2019-09-12 | 355317602
2019-09-13 | 348847143
2019-09-14 | 375293007
2019-09-15 | 367817171
2019-09-16 | 407652127
2019-09-17 | 497743750
2019-09-18 | 582922353
2019-09-19 | 638645139
2019-09-20 | 639920389
2019-09-21 | 534879058
2019-09-22 | 444581082
2019-09-23 | 475082123
2019-09-24 | 478645610
2019-09-25 | 497624404
2019-09-26 | 500372677
2019-09-27 | 495689739
2019-09-28 | 521493303
2019-09-29 | 548554526
2019-09-30 | 584882492
2019-10-01 | 620141020
2019-10-02 | 758095566
2019-10-03 | 856922987
2019-10-04 | 948311839
2019-10-05 | 982094167
2019-10-06 | 1126613633
2019-10-07 | 1119263649
2019-10-08 | 999552631
2019-10-09 | 987253459
2019-10-10 | 996071800
2019-10-11 | 908054356
2019-10-12 | 720955004
2019-10-13 | 557531889
2019-10-14 | 522932417
2019-10-15 | 571999874
2019-10-16 | 707547362
2019-10-17 | 706283429
2019-10-18 | 738899132
2019-10-19 | 822375392
2019-10-20 | 797506253
2019-10-21 | 775792757
2019-10-22 | 840095376
2019-10-23 | 845469707
2019-10-24 | 772334904
2019-10-25 | 767080285
2019-10-26 | 749532153
2019-10-27 | 935389271
2019-10-28 | 1199728712
2019-10-29 | 1365330692
2019-10-30 | 1575499819
2019-10-31 | 1661092205
2019-11-01 | 1571050941
2019-11-02 | 1143462942
2019-11-03 | 1104083012
2019-11-04 | 1163714481
2019-11-05 | 1251408449
2019-11-06 | 1354427283
2019-11-07 | 1431139237
2019-11-08 | 1527206418
2019-11-09 | 1622409020
2019-11-10 | 1756361300
2019-11-11 | 1886453589
2019-11-12 | 1831189926
2019-11-13 | 1847445280
2019-11-14 | 1829772432
2019-11-15 | 1818347803
2019-11-16 | 1808532302
2019-11-17 | 1870554117
2019-11-18 | 1819688201
2019-11-19 | 1856219664
2019-11-20 | 1960514701
2019-11-21 | 1894605023
2019-11-22 | 1806393700
2019-11-23 | 1722613412
2019-11-24 | 1767396716
2019-11-25 | 1795185318
2019-11-26 | 1624362675
2019-11-27 | 1518047181
2019-11-28 | 1486054698
2019-11-29 | 1738000618
2019-11-30 | 1949971961
2019-12-01 | 2100994294
2019-12-02 | 2094058242
2019-12-03 | 2014506660
2019-12-04 | 2117674108
2019-12-05 | 2281220086
2019-12-06 | 2108926191
2019-12-07 | 1740607162
2019-12-08 | 1646065677
2019-12-09 | 1799958006
2019-12-10 | 2021554155
2019-12-11 | 2074871902
2019-12-12 | 2086623547
2019-12-13 | 2110544948
2019-12-14 | 1933132404
2019-12-15 | 1773397677
2019-12-16 | 1743941065
2019-12-17 | 1528926021
2019-12-18 | 1613342985
2019-12-19 | 1657392979
2019-12-20 | 1612860101
2019-12-21 | 1615892445
2019-12-22 | 1660824244
2019-12-23 | 1666311646
2019-12-24 | 1661836802
2019-12-25 | 1663021794
2019-12-26 | 1781303063
2019-12-27 | 1942614843
2019-12-28 | 2196020372
2019-12-29 | 2281683411
2019-12-30 | 2133681316
2019-12-31 | 2118719569
2020-01-01 | 2237244494
2020-01-02 | 2312545112
2020-01-03 | 1993149043
2020-01-04 | 1997654927
2020-01-05 | 2002762198
2020-01-06 | 2091263035
2020-01-07 | 2033858403
2020-01-08 | 1828970139
2020-01-09 | 1579485757
2020-01-10 | 1657025942
2020-01-11 | 1900544367
2020-01-12 | 1951101884
2020-01-13 | 1884993483
2020-01-14 | 1726653520
2020-01-15 | 1561396368
2020-01-16 | 1652306138
2020-01-17 | 1727036087
2020-01-18 | 1886319665
2020-01-19 | 2008965129
2020-01-20 | 2129911024
2020-01-21 | 2262536485
2020-01-22 | 2299207262
2020-01-23 | 2264457721
2020-01-24 | 2333881498
2020-01-25 | 2266029063
2020-01-26 | 2107669599
2020-01-27 | 1931474036
2020-01-28 | 2021586360
2020-01-29 | 2089906511
2020-01-30 | 1823229803
2020-01-31 | 1461843789
2020-02-01 | 1404252514
2020-02-02 | 1522305237
2020-02-03 | 1573694671
2020-02-04 | 1866065088
2020-02-05 | 1974288069
2020-02-06 | 2038598603
2020-02-07 | 1991017407
2020-02-08 | 1899047379
2020-02-09 | 1602883728
2020-02-10 | 1751527255
2020-02-11 | 1998992523
2020-02-12 | 2074918641
2020-02-13 | 2055303341
2020-02-14 | 1891345649
2020-02-15 | 1626933902
2020-02-16 | 1367280740
2020-02-17 | 1570796572
2020-02-18 | 1711871574
2020-02-19 | 1838982397
2020-02-20 | 1792550685
2020-02-21 | 1787596700
2020-02-22 | 1628077506
2020-02-23 | 1615269341
2020-02-24 | 1690426310
2020-02-25 | 1675553578
2020-02-26 | 1975532180
2020-02-27 | 2070392415
2020-02-28 | 1935450652
2020-02-29 | 1652450459
2020-03-01 | 1651502579
2020-03-02 | 1670315964
2020-03-03 | 1786482407
2020-03-04 | 1825088029
2020-03-05 | 1775108391
2020-03-06 | 1848661568
2020-03-07 | 1780599800
2020-03-08 | 1606927494
2020-03-09 | 1612604031
2020-03-10 | 1631865306
2020-03-11 | 1322995215
2020-03-12 | 1371936898
2020-03-13 | 1612130748
2020-03-14 | 1592359512
2020-03-15 | 1403288093
2020-03-16 | 1237359738
2020-03-17 | 1194835362
2020-03-18 | 1113719756
2020-03-19 | 1080041133
2020-03-20 | 1264657009
2020-03-21 | 1603499318
2020-03-22 | 1728199929
2020-03-23 | 1837054947
2020-03-24 | 1790321163
2020-03-25 | 1718452989
2020-03-26 | 1635155006
2020-03-27 | 1337660420
2020-03-28 | 1190228963
2020-03-29 | 1711970300
2020-03-30 | 1855914305
2020-03-31 | 1786967240
2020-04-01 | 1678317849
2020-04-02 | 1512324857
2020-04-03 | 1482430752
2020-04-04 | 1295557672
2020-04-05 | 1046158503
2020-04-06 | 828948181
2020-04-07 | 735751569
2020-04-08 | 645628013
2020-04-09 | 656251790
2020-04-10 | 722744817
2020-04-11 | 694650541
2020-04-12 | 590700974
2020-04-13 | 906781808
2020-04-14 | 1169530371
2020-04-15 | 1015557171
2020-04-16 | 767565936
2020-04-17 | 688581975
2020-04-18 | 643990964
2020-04-19 | 717249654
2020-04-20 | 762172398
2020-04-21 | 711237749
2020-04-22 | 632640992
2020-04-23 | 570969278
2020-04-24 | 562027527
2020-04-25 | 660171433
2020-04-26 | 666260411
2020-04-27 | 566205992
2020-04-28 | 592612313
2020-04-29 | 666300746
2020-04-30 | 714047124
2020-05-01 | 763588379
2020-05-02 | 863168256
2020-05-03 | 798822479
2020-05-04 | 840602746
2020-05-05 | 891856768
2020-05-06 | 813969026
2020-05-07 | 697780728
2020-05-08 | 542092530
2020-05-09 | 449761002
2020-05-10 | 471403683
2020-05-11 | 898407908
2020-05-12 | 961318048
2020-05-13 | 950621116
2020-05-14 | 931648771
2020-05-15 | 880518018
2020-05-16 | 736274828
2020-05-17 | 643201605
2020-05-18 | 525097401
2020-05-19 | 454228357
2020-05-20 | 442785991
2020-05-21 | 377870834
2020-05-22 | 350590193
2020-05-23 | 453258003
2020-05-24 | 536260323
2020-05-25 | 558827638
2020-05-26 | 508033003
2020-05-27 | 434215436
2020-05-28 | 447003182
2020-05-29 | 431915928
2020-05-30 | 418592477
2020-05-31 | 411227755
2020-06-01 | 346919697
2020-06-02 | 296424475
2020-06-03 | 285146678
2020-06-04 | 370943763
2020-06-05 | 494575248
2020-06-06 | 509087183
2020-06-07 | 512526483
2020-06-08 | 464107254
2020-06-09 | 471912391
2020-06-10 | 463758448
2020-06-11 | 430500248
2020-06-12 | 319032286
2020-06-13 | 269993038
2020-06-14 | 304805285
2020-06-15 | 319097302
2020-06-16 | 311515238
2020-06-17 | 292122601
2020-06-18 | 301794449
2020-06-19 | 310734616
2020-06-20 | 295960534
2020-06-21 | 278706423
2020-06-22 | 266318564
2020-06-23 | 259865799
2020-06-24 | 242659308
2020-06-25 | 234847683
2020-06-26 | 220502788
2020-06-27 | 209738675
2020-06-28 | 227871492
2020-06-29 | 256366158
2020-06-30 | 269499230
2020-07-01 | 259042231
2020-07-02 | 257750345
2020-07-03 | 273194762
2020-07-04 | 257075691
2020-07-05 | 253214437
2020-07-06 | 298598792
2020-07-07 | 322510955
2020-07-08 | 349139556
2020-07-09 | 321806364
2020-07-10 | 328983693
2020-07-11 | 331333786
2020-07-12 | 316626655
2020-07-13 | 284142914
2020-07-14 | 279701251
2020-07-15 | 304353751
2020-07-16 | 330582145
2020-07-17 | 294864824
2020-07-18 | 259254112
2020-07-19 | 230205424
2020-07-20 | 244865341
2020-07-21 | 267384734
2020-07-22 | 273470836
2020-07-23 | 256558579
2020-07-24 | 240553128
2020-07-25 | 227483198
2020-07-26 | 235040770
2020-07-27 | 235731575
2020-07-28 | 227865540
2020-07-29 | 261868162
2020-07-30 | 245114285
2020-07-31 | 222045737
2020-08-01 | 201776371
2020-08-02 | 217760399
2020-08-03 | 240674210
2020-08-04 | 263809512
2020-08-05 | 243076945
2020-08-06 | 217768058
2020-08-07 | 202878999
2020-08-08 | 182957977
2020-08-09 | 181488173
2020-08-10 | 186118751
2020-08-11 | 184491082
2020-08-12 | 178322724
2020-08-13 | 186170689
2020-08-14 | 197912257
2020-08-15 | 191488134
2020-08-16 | 193574966
2020-08-17 | 195000141
2020-08-18 | 207295140
2020-08-19 | 209457238
2020-08-20 | 194703616
2020-08-21 | 182591112
2020-08-22 | 200109462
2020-08-23 | 221621719
2020-08-24 | 248860650
2020-08-25 | 254597962
2020-08-26 | 271132236
2020-08-27 | 278662867
2020-08-28 | 272360929
2020-08-29 | 289114963
2020-08-30 | 317216147
2020-08-31 | 332397749
2020-09-01 | 354804128
2020-09-02 | 365861006
2020-09-03 | 374221259
2020-09-04 | 305117292
2020-09-05 | 338042728
2020-09-06 | 393103270
2020-09-07 | 394769020
2020-09-08 | 368676039
2020-09-09 | 326688528
2020-09-10 | 358455886
2020-09-11 | 346709505
2020-09-12 | 328960509
2020-09-13 | 315652416
2020-09-14 | 275970888
2020-09-15 | 244725308
2020-09-16 | 253714955
2020-09-17 | 329217767
2020-09-18 | 374256737
2020-09-19 | 375693679
2020-09-20 | 373277352
2020-09-21 | 364949337
2020-09-22 | 343681288
2020-09-23 | 323387639
2020-09-24 | 356601358
2020-09-25 | 513410410
2020-09-26 | 706350332
2020-09-27 | 755854763
2020-09-28 | 783596322
2020-09-29 | 796726161
2020-09-30 | 687502975
2020-10-01 | 702773682
2020-10-02 | 658388202
2020-10-03 | 689225250
2020-10-04 | 762823337
2020-10-05 | 863454360
2020-10-06 | 878461121
2020-10-07 | 901534165
2020-10-08 | 886520532
2020-10-09 | 838468579
2020-10-10 | 978560307
2020-10-11 | 1094941793
2020-10-12 | 1159762508
2020-10-13 | 1199676659
2020-10-14 | 1289125912
2020-10-15 | 1289992595
2020-10-16 | 1270150642
2020-10-17 | 1259828450
2020-10-18 | 1271535741
2020-10-19 | 1279026206
2020-10-20 | 1261861916
2020-10-21 | 1010984572
2020-10-22 | 816112142
2020-10-23 | 863372660
2020-10-24 | 908458428
2020-10-25 | 936149853
2020-10-26 | 1120379838
2020-10-27 | 1189608839
2020-10-28 | 1126604974
2020-10-29 | 1178044375
2020-10-30 | 1041205280
2020-10-31 | 934825917
2020-11-01 | 908488114
2020-11-02 | 706031097
2020-11-03 | 1024050770
2020-11-04 | 1294534252
2020-11-05 | 1445813417
2020-11-06 | 1430499581
2020-11-07 | 1392609947
2020-11-08 | 1371155772
2020-11-09 | 1415405699
2020-11-10 | 1512881538
2020-11-11 | 1452735247
2020-11-12 | 1410614128
2020-11-13 | 1328146761
2020-11-14 | 1126007752
2020-11-15 | 1114276034
2020-11-16 | 1266755015
2020-11-17 | 1270363391
2020-11-18 | 1234115823
2020-11-19 | 1445575452
2020-11-20 | 1759661348
2020-11-21 | 1784342435
2020-11-22 | 1654626882
2020-11-23 | 1689908631
2020-11-24 | 1803959336
2020-11-25 | 1879041488
2020-11-26 | 1853125808
2020-11-27 | 1902828263
2020-11-28 | 1989987268
2020-11-29 | 2149906314
2020-11-30 | 2299105890
2020-12-01 | 2137722222
2020-12-02 | 2192773857
2020-12-03 | 2244037239
2020-12-04 | 2131247905
2020-12-05 | 2053767479
2020-12-06 | 1985869931
2020-12-07 | 2039780047
2020-12-08 | 2080674328
2020-12-09 | 2178535212
2020-12-10 | 2259046622
2020-12-11 | 2198171624
2020-12-12 | 1970356927
2020-12-13 | 1864699829
2020-12-14 | 1853819011
2020-12-15 | 1755162399
2020-12-16 | 1687863196
2020-12-17 | 1722803233
2020-12-18 | 1782996699
2020-12-19 | 1735310573
2020-12-20 | 1722329677
2020-12-21 | 1741458920
2020-12-22 | 1424085066
2020-12-23 | 1416717797
2020-12-24 | 1681407351
2020-12-25 | 1947711690
2020-12-26 | 2077504883
2020-12-27 | 2142116542
2020-12-28 | 2091430022
2020-12-29 | 2112951267
2020-12-30 | 2108335613
2020-12-31 | 2135154098
2021-01-01 | 2075136371
2021-01-02 | 2103324649
2021-01-03 | 2196988523
2021-01-04 | 2323692382
2021-01-05 | 2300757238
2021-01-06 | 2294833366
2021-01-07 | 2334022845
2021-01-08 | 2340817453
2021-01-09 | 2339052217
2021-01-10 | 2378134170
2021-01-11 | 2499589037
2021-01-12 | 2367031995
2021-01-13 | 2382430857
2021-01-14 | 2458376365
2021-01-15 | 2518770127
2021-01-16 | 2548079838
2021-01-17 | 2478580213
2021-01-18 | 2358419104
2021-01-19 | 2238096908
2021-01-20 | 1986052713
2021-01-21 | 1820818010
2021-01-22 | 1924260689
2021-01-23 | 2062269712
2021-01-24 | 2232500134
2021-01-25 | 2369760021
2021-01-26 | 2369014568
2021-01-27 | 2336349983
2021-01-28 | 2151072691
2021-01-29 | 2057748707
2021-01-30 | 2255325841
2021-01-31 | 2390493482
2021-02-01 | 2345695026
2021-02-02 | 2070895490
2021-02-03 | 1858204668
2021-02-04 | 1903621492
2021-02-05 | 1961425904
2021-02-06 | 2184445665
2021-02-07 | 2592788705
2021-02-08 | 2931324034
2021-02-09 | 3070553312
2021-02-10 | 3149006923
2021-02-11 | 3108532430
2021-02-12 | 3189626294
2021-02-13 | 3153199559
2021-02-14 | 2983835147
2021-02-15 | 2807153291
2021-02-16 | 2244113200
2021-02-17 | 1958324006
2021-02-18 | 1838649694
2021-02-19 | 1737533730
2021-02-20 | 1484448427
2021-02-21 | 1378606755
2021-02-22 | 1454291678
2021-02-23 | 1256336813
2021-02-24 | 1115988911
2021-02-25 | 1115244795
2021-02-26 | 1437218201
2021-02-27 | 1632296994
2021-02-28 | 1677845339
2021-03-01 | 1755813836
2021-03-02 | 1636082263
2021-03-03 | 1570259353
2021-03-04 | 1748391897
2021-03-05 | 1986101274
2021-03-06 | 2006997615
2021-03-07 | 1993059359
2021-03-08 | 2029841720
2021-03-09 | 2043116617
2021-03-10 | 1857223188
2021-03-11 | 1673849397
2021-03-12 | 1709407396
2021-03-13 | 1764106072
2021-03-14 | 1824246380
2021-03-15 | 1881349293
2021-03-16 | 1903393955
2021-03-17 | 1988844263
2021-03-18 | 2014678144
2021-03-19 | 2079234648
2021-03-20 | 1997343918
2021-03-21 | 1892854805
2021-03-22 | 1863701251
2021-03-23 | 1776256405
2021-03-24 | 1489118588
2021-03-25 | 1351901042
2021-03-26 | 1169694369
2021-03-27 | 1407691556
2021-03-28 | 1341252431
2021-03-29 | 1048879449
2021-03-30 | 876547705
2021-03-31 | 740537290
2021-04-01 | 819541511
2021-04-02 | 1184102027
2021-04-03 | 1282628190
2021-04-04 | 1394099933
2021-04-05 | 1732877009
2021-04-06 | 1993457234
2021-04-07 | 2084298564
2021-04-08 | 1916126450
2021-04-09 | 1529311575
2021-04-10 | 1424434082
2021-04-11 | 1444798589
2021-04-12 | 1738803143
2021-04-13 | 1736029448
2021-04-14 | 1766707946
2021-04-15 | 1715358685
2021-04-16 | 1600225086
2021-04-17 | 1459149946
2021-04-18 | 1337887229
2021-04-19 | 1285562109
2021-04-20 | 1095488188
2021-04-21 | 1058702227
2021-04-22 | 1229183561
2021-04-23 | 1180745816
2021-04-24 | 1120028347
2021-04-25 | 1184381735
2021-04-26 | 1200917268
2021-04-27 | 1101822805
2021-04-28 | 886783925
2021-04-29 | 1006430037
2021-04-30 | 1145857494
2021-05-01 | 1083427571
2021-05-02 | 1226206854
2021-05-03 | 1200186621
2021-05-04 | 1210473879
2021-05-05 | 1331512989
2021-05-06 | 1336291697
2021-05-07 | 1335320563
2021-05-08 | 1035554898
2021-05-09 | 540665432
2021-05-10 | 459623973
2021-05-11 | 621360351
2021-05-12 | 706122241
2021-05-13 | 738465292
2021-05-14 | 751953479
2021-05-15 | 782564215
2021-05-16 | 779308519
2021-05-17 | 820891296
2021-05-18 | 853928908
2021-05-19 | 838716987
2021-05-20 | 786833804
2021-05-21 | 741207912
2021-05-22 | 827775137
2021-05-23 | 800979725
2021-05-24 | 728942856
2021-05-25 | 890628045
2021-05-26 | 916114875
2021-05-27 | 943728464
2021-05-28 | 764065017
2021-05-29 | 674586760
2021-05-30 | 583232881
2021-05-31 | 485356633
2021-06-01 | 411814639
2021-06-02 | 347672940
2021-06-03 | 296773326
2021-06-04 | 275658013
2021-06-05 | 292070014
2021-06-06 | 352126307
2021-06-07 | 333124630
2021-06-08 | 310386870
2021-06-09 | 283347886
2021-06-10 | 268834057
2021-06-11 | 248595707
2021-06-12 | 265482006
2021-06-13 | 305331135
2021-06-14 | 267924789
2021-06-15 | 253926364
2021-06-16 | 237002034
2021-06-17 | 209293721
2021-06-18 | 201779749
2021-06-19 | 190764890
2021-06-20 | 197140002
2021-06-21 | 234161008
2021-06-22 | 278489731
2021-06-23 | 277913035
2021-06-24 | 289111485
2021-06-25 | 268913254
2021-06-26 | 243731053
2021-06-27 | 229809882
2021-06-28 | 215576836
2021-06-29 | 230156443
2021-06-30 | 277210223
2021-07-01 | 335022680
2021-07-02 | 301909975
2021-07-03 | 253625268
2021-07-04 | 253399762
2021-07-05 | 257383324
2021-07-06 | 252422942
2021-07-07 | 260732706
2021-07-08 | 268340214
2021-07-09 | 282252307
2021-07-10 | 259736669
2021-07-11 | 254357364
2021-07-12 | 236725877
2021-07-13 | 240345466
2021-07-14 | 273905461
2021-07-15 | 261489793
2021-07-16 | 256211533
2021-07-17 | 239813609
2021-07-18 | 231285165
2021-07-19 | 246540983
2021-07-20 | 256058150
2021-07-21 | 238008619
2021-07-22 | 223721303
2021-07-23 | 224288658
2021-07-24 | 223713478
2021-07-25 | 205862057
2021-07-26 | 188600212
2021-07-27 | 199994687
2021-07-28 | 221544088
2021-07-29 | 245341200
2021-07-30 | 223177574
2021-07-31 | 243523466
2021-08-01 | 268162032
2021-08-02 | 290665661
2021-08-03 | 302791810
2021-08-04 | 288047618
2021-08-05 | 277708554
2021-08-06 | 272934931
2021-08-07 | 262372122
2021-08-08 | 291372711
2021-08-09 | 290496947
2021-08-10 | 281458187
2021-08-11 | 264336313
2021-08-12 | 240976117
2021-08-13 | 226443887
2021-08-14 | 221365637
2021-08-15 | 217781525
2021-08-16 | 276960059
2021-08-17 | 334928611
2021-08-18 | 320697476
2021-08-19 | 308121816
2021-08-20 | 293233809
2021-08-21 | 264556500
2021-08-22 | 276905506
2021-08-23 | 308167219
2021-08-24 | 332638659
2021-08-25 | 336860712
2021-08-26 | 370610135
2021-08-27 | 409166582
2021-08-28 | 415739165
2021-08-29 | 446001535
2021-08-30 | 421281864
2021-08-31 | 409130147
2021-09-01 | 408168384
2021-09-02 | 387385733
2021-09-03 | 349491384
2021-09-04 | 351612830
2021-09-05 | 350072690
2021-09-06 | 328459617
2021-09-07 | 310515121
2021-09-08 | 297868250
2021-09-09 | 274398300
2021-09-10 | 256310390
2021-09-11 | 268233615
2021-09-12 | 297373008
2021-09-13 | 320808438
2021-09-14 | 305442638
2021-09-15 | 298564104
2021-09-16 | 350602391
2021-09-17 | 396965724
2021-09-18 | 407564876
2021-09-19 | 476686363
2021-09-20 | 563470678
2021-09-21 | 605735454
2021-09-22 | 590433140
2021-09-23 | 548385525
2021-09-24 | 514966917
2021-09-25 | 434975610
2021-09-26 | 382811263
2021-09-27 | 393726728
2021-09-28 | 494963550
2021-09-29 | 631907991
2021-09-30 | 730718069
2021-10-01 | 674461173
2021-10-02 | 580725417
2021-10-03 | 536371792
2021-10-04 | 669497546
2021-10-05 | 729807866
2021-10-06 | 824443626
2021-10-07 | 835060363
2021-10-08 | 858073706
2021-10-09 | 899048906
2021-10-10 | 1021798938
2021-10-11 | 1068408721
2021-10-12 | 1139216757
2021-10-13 | 1186858337
2021-10-14 | 1114859560
2021-10-15 | 1105070133
2021-10-16 | 1167290893
2021-10-17 | 1169987221
2021-10-18 | 1133456945
2021-10-19 | 1021633154
2021-10-20 | 844391782
2021-10-21 | 1045673896
2021-10-22 | 1284193065
2021-10-23 | 1290569356
2021-10-24 | 1325944873
2021-10-25 | 1333398117
2021-10-26 | 1170095260
2021-10-27 | 1102247632
2021-10-28 | 1145191788
2021-10-29 | 1153355258
2021-10-30 | 1192742565
2021-10-31 | 978800243
2021-11-01 | 1134781620
2021-11-02 | 1297742928
2021-11-03 | 1408118449
2021-11-04 | 1492249707
2021-11-05 | 1461158659
2021-11-06 | 1446374357
2021-11-07 | 1456371418
2021-11-08 | 1491208692
2021-11-09 | 1524796766
2021-11-10 | 1698172487
2021-11-11 | 1719413963
2021-11-12 | 1711018870
2021-11-13 | 1602837093
2021-11-14 | 1520438352
2021-11-15 | 1663524155
2021-11-16 | 1721380193
2021-11-17 | 1720646991
2021-11-18 | 1607520310
2021-11-19 | 1464505051
2021-11-20 | 1429620896
2021-11-21 | 1577475534
2021-11-22 | 1842760085
2021-11-23 | 1884126493
2021-11-24 | 1861632565
2021-11-25 | 1973260372
2021-11-26 | 2008363850
2021-11-27 | 2014954090
2021-11-28 | 2063702014
2021-11-29 | 2190664381
2021-11-30 | 2085467427
2021-12-01 | 1893830093
2021-12-02 | 2149640222
2021-12-03 | 2232960250
2021-12-04 | 2048664465
2021-12-05 | 2058869041
2021-12-06 | 2208590765
2021-12-07 | 2214530915
2021-12-08 | 2196624848
2021-12-09 | 2221616973
2021-12-10 | 2225641389
2021-12-11 | 2212911800
2021-12-12 | 2029315515
2021-12-13 | 1805970584
2021-12-14 | 1770016119
2021-12-15 | 1694060020
2021-12-16 | 1697989626
2021-12-17 | 1740207416
2021-12-18 | 1781406863
2021-12-19 | 1849108155
2021-12-20 | 2168698539
2021-12-21 | 2480134199
2021-12-22 | 2615673977
2021-12-23 | 2379645543
2021-12-24 | 2004143673
2021-12-25 | 2322068501
2021-12-26 | 2437226469
2021-12-27 | 2213624871
2021-12-28 | 1949558277
2021-12-29 | 1739834192
2021-12-30 | 1393868319
2021-12-31 | 1268046607
2022-01-01 | 1252753266
2022-01-02 | 1360625085
2022-01-03 | 1479027603
2022-01-04 | 1645952383
2022-01-05 | 2002780611
2022-01-06 | 2140839885
2022-01-07 | 2228729560
2022-01-08 | 2194061926
2022-01-09 | 2133477725
2022-01-10 | 2223632537
2022-01-11 | 2312254854
2022-01-12 | 2289370704
2022-01-13 | 2262362036
2022-01-14 | 2210558821
2022-01-15 | 2191562702
2022-01-16 | 2181553228
2022-01-17 | 2113106286
2022-01-18 | 2024411194
2022-01-19 | 2140840949
2022-01-20 | 2316597548
2022-01-21 | 2275575019
2022-01-22 | 2053440811
2022-01-23 | 1968577669
2022-01-24 | 2062862378
2022-01-25 | 2171196616
2022-01-26 | 2279417607
2022-01-27 | 2210985237
2022-01-28 | 2085516758
2022-01-29 | 1923781399
2022-01-30 | 1980528191
2022-01-31 | 2157531776
2022-02-01 | 2125076888
2022-02-02 | 1955667975
2022-02-03 | 1859137124
2022-02-04 | 1876605692
2022-02-05 | 1934449396
2022-02-06 | 1969825385
2022-02-07 | 2076997308
2022-02-08 | 1874880755
2022-02-09 | 1721810418
2022-02-10 | 1811410807
2022-02-11 | 2043748308
2022-02-12 | 2094707296
2022-02-13 | 1909002541
2022-02-14 | 1734197359
2022-02-15 | 1756881896
2022-02-16 | 1632848941
2022-02-17 | 1618385655
2022-02-18 | 1659063372
2022-02-19 | 1771331073
2022-02-20 | 1723904674
2022-02-21 | 1925440055
2022-02-22 | 1847915614
2022-02-23 | 1669124470
2022-02-24 | 1722604396
2022-02-25 | 1952413453
2022-02-26 | 1903928342
2022-02-27 | 1896297426
2022-02-28 | 1955543153
2022-03-01 | 1949230941
2022-03-02 | 1940609843
2022-03-03 | 1933855702
2022-03-04 | 1995911515
2022-03-05 | 1970611827
2022-03-06 | 2062068054
2022-03-07 | 2058638710
2022-03-08 | 1913393078
2022-03-09 | 1747108375
2022-03-10 | 1600054587
2022-03-11 | 1607691332
2022-03-12 | 1489418177
2022-03-13 | 1374906836
2022-03-14 | 1447277773
2022-03-15 | 1524676880
2022-03-16 | 1397217094
2022-03-17 | 1496129360
2022-03-18 | 1414433322
2022-03-19 | 1417150571
2022-03-20 | 1384831325
2022-03-21 | 1268747521
2022-03-22 | 1173830492
2022-03-23 | 1100568235
2022-03-24 | 1062509328
2022-03-25 | 1026859991
2022-03-26 | 934967143
2022-03-27 | 956140525
2022-03-28 | 962827111
2022-03-29 | 1052426109
2022-03-30 | 1247158962
2022-03-31 | 1526473534
2022-04-01 | 1860611518
2022-04-02 | 1903990736
2022-04-03 | 1799333858
2022-04-04 | 1828848551
2022-04-05 | 1577583248
2022-04-06 | 1343535823
2022-04-07 | 1334570815
2022-04-08 | 1495116932
2022-04-09 | 1533569666
2022-04-10 | 1519663364
2022-04-11 | 1271769425
2022-04-12 | 936796872
2022-04-13 | 722715128
2022-04-14 | 717400352
2022-04-15 | 883558929
2022-04-16 | 936561645
2022-04-17 | 901119251
2022-04-18 | 841749606
2022-04-19 | 845957929
2022-04-20 | 859315143
2022-04-21 | 881457356
2022-04-22 | 827377439
2022-04-23 | 761938565
2022-04-24 | 856144544
2022-04-25 | 935157623
2022-04-26 | 946392481
2022-04-27 | 873262321
2022-04-28 | 783818232
2022-04-29 | 762588533
2022-04-30 | 814941326
2022-05-01 | 800946007
2022-05-02 | 681788792
2022-05-03 | 649717338
2022-05-04 | 634291608
2022-05-05 | 616627648
2022-05-06 | 552963044
2022-05-07 | 494047593
2022-05-08 | 522818046
2022-05-09 | 443422141
2022-05-10 | 354520923
2022-05-11 | 317977344
2022-05-12 | 343927073
2022-05-13 | 389310681
2022-05-14 | 367986292
2022-05-15 | 339211187
2022-05-16 | 313241704
2022-05-17 | 298295920
2022-05-18 | 272304249
2022-05-19 | 250560875
2022-05-20 | 266709313
2022-05-21 | 316942340
2022-05-22 | 309578162
2022-05-23 | 287784865
2022-05-24 | 337086519
2022-05-25 | 343175078
2022-05-26 | 336219538
2022-05-27 | 376411641
2022-05-28 | 441574081
2022-05-29 | 518488210
2022-05-30 | 532572279
2022-05-31 | 469275272
2022-06-01 | 459219863
2022-06-02 | 420923946
2022-06-03 | 335752380
2022-06-04 | 293230060
2022-06-05 | 278782645
2022-06-06 | 283939090
2022-06-07 | 306700428
2022-06-08 | 309593381
2022-06-09 | 328792647
2022-06-10 | 292801187
2022-06-11 | 252128452
2022-06-12 | 249173921
2022-06-13 | 295328590
2022-06-14 | 296075887
2022-06-15 | 261752274
2022-06-16 | 241008480
2022-06-17 | 227168937
2022-06-18 | 205157026
2022-06-19 | 222636320
2022-06-20 | 261825619
2022-06-21 | 254102018
2022-06-22 | 237018605
2022-06-23 | 208039226
2022-06-24 | 210451785
2022-06-25 | 200906648
2022-06-26 | 200859008
2022-06-27 | 217474259
2022-06-28 | 222739391
2022-06-29 | 206944729
2022-06-30 | 202090476
2022-07-01 | 236455076
2022-07-02 | 215867543
2022-07-03 | 201908047
2022-07-04 | 210586480
2022-07-05 | 217891194
2022-07-06 | 231124473
2022-07-07 | 258095022
2022-07-08 | 253273012
2022-07-09 | 237308890
2022-07-10 | 262792517
2022-07-11 | 251455647
2022-07-12 | 227801746
2022-07-13 | 203313175
2022-07-14 | 215616336
2022-07-15 | 226103248
2022-07-16 | 227687993
2022-07-17 | 222357834
2022-07-18 | 197468674
2022-07-19 | 185801496
2022-07-20 | 172328912
2022-07-21 | 189826302
2022-07-22 | 191673636
2022-07-23 | 193119524
2022-07-24 | 183941246
2022-07-25 | 172213230
2022-07-26 | 185726324
2022-07-27 | 214769029
2022-07-28 | 215619464
2022-07-29 | 200416583
2022-07-30 | 190159911
2022-07-31 | 188163134
2022-08-01 | 189309415
2022-08-02 | 189637655
2022-08-03 | 175268308
2022-08-04 | 167774980
2022-08-05 | 187817303
2022-08-06 | 198477377
2022-08-07 | 198477086
2022-08-08 | 199143211
2022-08-09 | 190916629
2022-08-10 | 180778355
2022-08-11 | 182068421
2022-08-12 | 177860896
2022-08-13 | 170117650
2022-08-14 | 169318202
2022-08-15 | 162931235
2022-08-16 | 173205448
2022-08-17 | 176107672
2022-08-18 | 180697134
2022-08-19 | 180711706
2022-08-20 | 183992801
2022-08-21 | 187358493
2022-08-22 | 187221100
2022-08-23 | 187044750
2022-08-24 | 179542111
2022-08-25 | 174615571
2022-08-26 | 176497787
2022-08-27 | 187224015
2022-08-28 | 195841515
2022-08-29 | 204568916
2022-08-30 | 208033177
2022-08-31 | 219110917
2022-09-01 | 220028820
2022-09-02 | 220242406
2022-09-03 | 213248421
2022-09-04 | 207563735
2022-09-05 | 198878394
2022-09-06 | 199434489
2022-09-07 | 200323126
2022-09-08 | 223542534
2022-09-09 | 233642960
2022-09-10 | 242175744
2022-09-11 | 256026069
2022-09-12 | 245602204
2022-09-13 | 234377771
2022-09-14 | 258769157
2022-09-15 | 286407020
2022-09-16 | 344750613
2022-09-17 | 404294111
2022-09-18 | 489680540
2022-09-19 | 535033528
2022-09-20 | 569767550
2022-09-21 | 591768747
2022-09-22 | 572671885
2022-09-23 | 540340994
2022-09-24 | 528344578
2022-09-25 | 540795746
2022-09-26 | 615360905
2022-09-27 | 707513093
2022-09-28 | 774691755
2022-09-29 | 777136313
2022-09-30 | 728651006
2022-10-01 | 722407724
2022-10-02 | 663748334
2022-10-03 | 670012860
2022-10-04 | 638199598
2022-10-05 | 553703812
2022-10-06 | 551581052
2022-10-07 | 586859662
2022-10-08 | 617354400
2022-10-09 | 677933173
2022-10-10 | 645823429
2022-10-11 | 694616075
2022-10-12 | 727341483
2022-10-13 | 697479158
2022-10-14 | 620691946
2022-10-15 | 544160437
2022-10-16 | 499577277
2022-10-17 | 450038519
2022-10-18 | 487775092
2022-10-19 | 617446559
2022-10-20 | 693129829
2022-10-21 | 608773561
2022-10-22 | 556648605
2022-10-23 | 560675862
2022-10-24 | 541362623
2022-10-25 | 587401048
2022-10-26 | 582276850
2022-10-27 | 527594502
2022-10-28 | 437257323
2022-10-29 | 459024532
2022-10-30 | 459165308
2022-10-31 | 523346642
2022-11-01 | 559030251
2022-11-02 | 701404080
2022-11-03 | 784541086
2022-11-04 | 849082651
2022-11-05 | 928314267
2022-11-06 | 956094209
2022-11-07 | 901553364
2022-11-08 | 830796602
2022-11-09 | 811310933
2022-11-10 | 876058387
2022-11-11 | 974310323
2022-11-12 | 1061421809
2022-11-13 | 1122930983
2022-11-14 | 1174305098
2022-11-15 | 1039950423
2022-11-16 | 1083463897
2022-11-17 | 1199404664
2022-11-18 | 1379402954
2022-11-19 | 1627263098
2022-11-20 | 1658355040
2022-11-21 | 1676597009
2022-11-22 | 1603070873
2022-11-23 | 1456955238
2022-11-24 | 1436300463
2022-11-25 | 1411045762
2022-11-26 | 1409303680
2022-11-27 | 1483430165
2022-11-28 | 1515687982
2022-11-29 | 1472565231
2022-11-30 | 1533504561
2022-12-01 | 1671186291
2022-12-02 | 1825597983
2022-12-03 | 1905311968
2022-12-04 | 1872880657
2022-12-05 | 1861382846
2022-12-06 | 1817484383
2022-12-07 | 1822926308
2022-12-08 | 1907415890
2022-12-09 | 2005175233
2022-12-10 | 2082356998
2022-12-11 | 2159877684
2022-12-12 | 2360344017
2022-12-13 | 2524646946
2022-12-14 | 2583190901
2022-12-15 | 2601247762
2022-12-16 | 2598258043
2022-12-17 | 2671187571
2022-12-18 | 2645455529
2022-12-19 | 2224390519
2022-12-20 | 1773946925
2022-12-21 | 1583426110
2022-12-22 | 1435976774
2022-12-23 | 1346373008
2022-12-24 | 1310822961
2022-12-25 | 1273096423
2022-12-26 | 1348312007
2022-12-27 | 1607673425
2022-12-28 | 1485026291
2022-12-29 | 1343216294
2022-12-30 | 1346101953
2022-12-31 | 989378734
2023-01-01 | 968858270
2023-01-02 | 1109790429
2023-01-03 | 1356292428
2023-01-04 | 1323955103
2023-01-05 | 1250973046
2023-01-06 | 1226524912
2023-01-07 | 1216870319
2023-01-08 | 1303063379
2023-01-09 | 1462135665
2023-01-10 | 1549840088
2023-01-11 | 1446779803
2023-01-12 | 1405069932
2023-01-13 | 1409384565
2023-01-14 | 1419703144
2023-01-15 | 1545992699
2023-01-16 | 1714428165
2023-01-17 | 1873428185
2023-01-18 | 2085034571
2023-01-19 | 2124757472
2023-01-20 | 2154670491
2023-01-21 | 2203740059
2023-01-22 | 2123730772
2023-01-23 | 2104924605
2023-01-24 | 2097625488
2023-01-25 | 2200480149
2023-01-26 | 2187384795
2023-01-27 | 2083333435
2023-01-28 | 2121670124
2023-01-29 | 2142809818
2023-01-30 | 2019092326
2023-01-31 | 1941684218
2023-02-01 | 1868259715
2023-02-02 | 1775587875
2023-02-03 | 1661188311
2023-02-04 | 1719815499
2023-02-05 | 1893144847
2023-02-06 | 2064106260
2023-02-07 | 2175742584
2023-02-08 | 2204479248
2023-02-09 | 2181104028
2023-02-10 | 1982263258
2023-02-11 | 1748248376
2023-02-12 | 1575214421
2023-02-13 | 1592744607
2023-02-14 | 1674281003
2023-02-15 | 1710784546
2023-02-16 | 1579058070
2023-02-17 | 1326481657
2023-02-18 | 1288913795
2023-02-19 | 1360683408
2023-02-20 | 1380076239
2023-02-21 | 1312808569
2023-02-22 | 1252622601
2023-02-23 | 1312212705
2023-02-24 | 1539438641
2023-02-25 | 1732472984
2023-02-26 | 1935596448
2023-02-27 | 2003471744
2023-02-28 | 1956659514
2023-03-01 | 1895222385
2023-03-02 | 1810236930
2023-03-03 | 1827653807
2023-03-04 | 1762445029
2023-03-05 | 1787587360
2023-03-06 | 1852498615
2023-03-07 | 1870689814
2023-03-08 | 1881539821
2023-03-09 | 1672203040
2023-03-10 | 1678442981
2023-03-11 | 1784059334
2023-03-12 | 1667028929
2023-03-13 | 1201911785
2023-03-14 | 1433737148
2023-03-15 | 1649335102
2023-03-16 | 1515119818
2023-03-17 | 1173992129
2023-03-18 | 942405988
2023-03-19 | 974325296
2023-03-20 | 1092960396
2023-03-21 | 1068358698
2023-03-22 | 935323123
2023-03-23 | 908831620
2023-03-24 | 907727601
2023-03-25 | 1016832737
2023-03-26 | 1188849552
2023-03-27 | 1478065558
2023-03-28 | 1443355275
2023-03-29 | 1209048823
2023-03-30 | 1000642743
2023-03-31 | 1017997460
2023-04-01 | 1142056827
2023-04-02 | 1354237365
2023-04-03 | 1477505137
2023-04-04 | 1480427739
2023-04-05 | 1405581357
2023-04-06 | 1253031171
2023-04-07 | 1190773186
2023-04-08 | 1206124877
2023-04-09 | 1068808694
2023-04-10 | 915356697
2023-04-11 | 1011777619
2023-04-12 | 1107252701
2023-04-13 | 1120727055
2023-04-14 | 1050668520
2023-04-15 | 1105387745
2023-04-16 | 1091716924
2023-04-17 | 1016121041
2023-04-18 | 1027359506
2023-04-19 | 1006383963
2023-04-20 | 1125777521
2023-04-21 | 810889392
2023-04-22 | 598900922
2023-04-23 | 626104458
2023-04-24 | 832855938
2023-04-25 | 1021007597
2023-04-26 | 1057789426
2023-04-27 | 926872682
2023-04-28 | 843675432
2023-04-29 | 803716150
2023-04-30 | 728761708
2023-05-01 | 653352443
2023-05-02 | 784610330
2023-05-03 | 742764859
2023-05-04 | 579861845
2023-05-05 | 515889386
2023-05-06 | 529835062
2023-05-07 | 520149960
2023-05-08 | 486428095
2023-05-09 | 431453912
2023-05-10 | 484991088
2023-05-11 | 519853156
2023-05-12 | 471913893
2023-05-13 | 442823266
2023-05-14 | 428713985
2023-05-15 | 448087501
2023-05-16 | 572838355
2023-05-17 | 622121215
2023-05-18 | 569782868
2023-05-19 | 482697705
2023-05-20 | 425398211
2023-05-21 | 334978619
2023-05-22 | 284550266
2023-05-23 | 385901006
2023-05-24 | 476373231
2023-05-25 | 431168142
2023-05-26 | 395450089
2023-05-27 | 348926821
2023-05-28 | 306135467
2023-05-29 | 314630788
2023-05-30 | 327634224
2023-05-31 | 294336061
2023-06-01 | 314925988
2023-06-02 | 322621930
2023-06-03 | 299001275
2023-06-04 | 285912833
2023-06-05 | 263675452
2023-06-06 | 261183339
2023-06-07 | 252470821
2023-06-08 | 236185929
2023-06-09 | 220901136
2023-06-10 | 208289817
2023-06-11 | 207541833
2023-06-12 | 206308253
2023-06-13 | 207809833
2023-06-14 | 222978356
2023-06-15 | 215308376
2023-06-16 | 222804155
2023-06-17 | 208444368
2023-06-18 | 201985827
2023-06-19 | 186677594
2023-06-20 | 184990685
2023-06-21 | 184611161
2023-06-22 | 189729862
2023-06-23 | 205738485
2023-06-24 | 192374764
2023-06-25 | 183081049
2023-06-26 | 187170098
2023-06-27 | 201727915
2023-06-28 | 210822988
2023-06-29 | 199272727
2023-06-30 | 206757619
2023-07-01 | 212261038
2023-07-02 | 218533743
2023-07-03 | 233270839
2023-07-04 | 225228474
2023-07-05 | 242194219
2023-07-06 | 232223309
2023-07-07 | 204359413
2023-07-08 | 182919923
2023-07-09 | 176287103
2023-07-10 | 176499807
2023-07-11 | 171949591
2023-07-12 | 182722151
2023-07-13 | 193374354
2023-07-14 | 187415028
2023-07-15 | 175716347
2023-07-16 | 178035728
2023-07-17 | 190352242
2023-07-18 | 199304527
2023-07-19 | 198114968
2023-07-20 | 204952659
2023-07-21 | 217238246
2023-07-22 | 211701170
2023-07-23 | 207285221
2023-07-24 | 204549233
2023-07-25 | 240618524
2023-07-26 | 252996066
2023-07-27 | 263844461
2023-07-28 | 223784244
2023-07-29 | 205767458
2023-07-30 | 215758195
2023-07-31 | 231478549
2023-08-01 | 239136414
2023-08-02 | 242301298
2023-08-03 | 245729714
2023-08-04 | 241336739
2023-08-05 | 235017204
2023-08-06 | 274591405
2023-08-07 | 298963474
2023-08-08 | 291403246
2023-08-09 | 280375964
2023-08-10 | 258703167
2023-08-11 | 215253866
2023-08-12 | 200467205
2023-08-13 | 200626154
2023-08-14 | 190500162
2023-08-15 | 182593234
2023-08-16 | 193767192
2023-08-17 | 201789412
2023-08-18 | 183819231
2023-08-19 | 176150224
2023-08-20 | 171777957
2023-08-21 | 181305458
2023-08-22 | 176063080
2023-08-23 | 175993811
2023-08-24 | 182726966
2023-08-25 | 178652117
2023-08-26 | 194095976
2023-08-27 | 224271489
2023-08-28 | 250937790
2023-08-29 | 263619637
2023-08-30 | 277905852
2023-08-31 | 294154933
2023-09-01 | 276886639
2023-09-02 | 244677466
2023-09-03 | 241865294
2023-09-04 | 231866759
2023-09-05 | 210615100
2023-09-06 | 205431355
2023-09-07 | 199205924
2023-09-08 | 196096870
2023-09-09 | 191012153
2023-09-10 | 186927099
2023-09-11 | 178684118
2023-09-12 | 187511853
2023-09-13 | 217854709
2023-09-14 | 247708511
2023-09-15 | 241571988
2023-09-16 | 216135895
2023-09-17 | 204933167
2023-09-18 | 207333348
2023-09-19 | 233939530
2023-09-20 | 227526118
2023-09-21 | 225774036
2023-09-22 | 269556342
2023-09-23 | 311124765
2023-09-24 | 327749997
2023-09-25 | 327165862
2023-09-26 | 314161083
2023-09-27 | 286443806
2023-09-28 | 256919058
2023-09-29 | 252579055
2023-09-30 | 296914409
2023-10-01 | 294597577
2023-10-02 | 263086111
2023-10-03 | 291198286
2023-10-04 | 366174526
2023-10-05 | 408957808
2023-10-06 | 407454667
2023-10-07 | 396476909
2023-10-08 | 417308250
2023-10-09 | 442464384
2023-10-10 | 396970375
2023-10-11 | 346378403
2023-10-12 | 396046144
2023-10-13 | 341801959
2023-10-14 | 465615667
2023-10-15 | 711474089
2023-10-16 | 894570671
2023-10-17 | 992347424
2023-10-18 | 1014822269
2023-10-19 | 898677831
2023-10-20 | 912979573
2023-10-21 | 777880023
2023-10-22 | 790261392
2023-10-23 | 843006513
2023-10-24 | 860941172
2023-10-25 | 896570739
2023-10-26 | 909415275
2023-10-27 | 946943950
2023-10-28 | 928835034
2023-10-29 | 834009595
2023-10-30 | 821592419
2023-10-31 | 902825121
2023-11-01 | 895188764
2023-11-02 | 967312224
2023-11-03 | 1071363367
2023-11-04 | 1092224610
2023-11-05 | 1061053411
2023-11-06 | 1076413323
2023-11-07 | 1134315193
2023-11-08 | 1176473271
2023-11-09 | 1207558368
2023-11-10 | 1244230730
2023-11-11 | 1319824034
2023-11-12 | 1360256876
2023-11-13 | 1293464838
2023-11-14 | 1171248349
2023-11-15 | 1220504893
2023-11-16 | 1350415062
2023-11-17 | 1504796634
2023-11-18 | 1473756610
2023-11-19 | 1189864573
2023-11-20 | 1208674908
2023-11-21 | 1386118749
2023-11-22 | 1701625460
2023-11-23 | 1510460601
2023-11-24 | 1686875583
2023-11-25 | 1794043493
2023-11-26 | 1793773420
2023-11-27 | 1927691437
2023-11-28 | 2128044889
2023-11-29 | 2155735768
2023-11-30 | 2175199984
2023-12-01 | 2257154441
2023-12-02 | 2315597285
2023-12-03 | 2313895687
2023-12-04 | 2383980648
2023-12-05 | 2158957663
2023-12-06 | 2114111826
2023-12-07 | 2118263393
2023-12-08 | 2046989474
2023-12-09 | 1759941498
2023-12-10 | 1590102337
2023-12-11 | 1511292482
2023-12-12 | 1511340297
2023-12-13 | 1517714657
2023-12-14 | 1683986848
2023-12-15 | 1659360906
2023-12-16 | 1567739549
2023-12-17 | 1607539234
2023-12-18 | 1753065514
2023-12-19 | 1716792247
2023-12-20 | 1686994761
2023-12-21 | 1621959347
2023-12-22 | 1692187403
2023-12-23 | 1606605028
2023-12-24 | 1378133201
2023-12-25 | 1289084955
2023-12-26 | 1399353218
2023-12-27 | 1547419576
2023-12-28 | 1409298168
2023-12-29 | 1365696403
2023-12-30 | 1412676011
2023-12-31 | 1482908622
2024-01-01 | 1501909296
2024-01-02 | 1505547676
2024-01-03 | 1412917384
2024-01-04 | 1595244695
2024-01-05 | 1676452322
2024-01-06 | 1825736019
2024-01-07 | 2163816891
2024-01-08 | 2562070278
2024-01-09 | 2745931167
2024-01-10 | 2756826994
2024-01-11 | 2645560383
2024-01-12 | 2440741998
2024-01-13 | 2289671316
2024-01-14 | 2285072953
2024-01-15 | 2373097380
2024-01-16 | 2435348313
2024-01-17 | 2414727909
2024-01-18 | 2377023598
2024-01-19 | 2440382838
2024-01-20 | 2454470855
2024-01-21 | 2304184958
2024-01-22 | 1896456567
2024-01-23 | 1772349905
2024-01-24 | 1527061641
2024-01-25 | 1573132084
2024-01-26 | 1595812360
2024-01-27 | 1775731553
2024-01-28 | 1793002189
2024-01-29 | 1724407201
2024-01-30 | 1645164882
2024-01-31 | 1653575565
2024-02-01 | 1626435351
2024-02-02 | 1596343189
2024-02-03 | 1425648350
2024-02-04 | 1407067815
2024-02-05 | 1392176231
2024-02-06 | 1438954851
2024-02-07 | 1620219411
2024-02-08 | 1644562429
2024-02-09 | 1428117202
2024-02-10 | 1253000223
2024-02-11 | 1355375733
2024-02-12 | 1457345600
2024-02-13 | 1524671415
2024-02-14 | 1384879306
2024-02-15 | 1143056851
2024-02-16 | 1069812968
2024-02-17 | 1172957572
2024-02-18 | 1272952957
2024-02-19 | 1334895112
2024-02-20 | 1346999116
2024-02-21 | 1307463260
2024-02-22 | 1276725966
2024-02-23 | 1452791409
2024-02-24 | 1507669177
2024-02-25 | 1489847175
2024-02-26 | 1538822521
2024-02-27 | 1587028723
2024-02-28 | 1620748335
2024-02-29 | 1492515101
2024-03-01 | 1411503283
2024-03-02 | 1210063441
2024-03-03 | 1131771652
2024-03-04 | 1286865986
2024-03-05 | 1395603687
2024-03-06 | 1441400611
2024-03-07 | 1575516277
2024-03-08 | 1516458322
2024-03-09 | 1326526521
2024-03-10 | 1279562652
2024-03-11 | 1289933295
2024-03-12 | 1348334250
2024-03-13 | 1222685469
2024-03-14 | 993599027
2024-03-15 | 944353906
2024-03-16 | 1111381691
2024-03-17 | 1147385943
2024-03-18 | 1179670661
2024-03-19 | 1073246440
2024-03-20 | 908394407
2024-03-21 | 985221606
2024-03-22 | 972145311
2024-03-23 | 1206652818
2024-03-24 | 1377540579
2024-03-25 | 1294240815
2024-03-26 | 1173583738
2024-03-27 | 1079975094
2024-03-28 | 1179505286
2024-03-29 | 1054732046
2024-03-30 | 837496771
2024-03-31 | 804988053
2024-04-01 | 971014767
2024-04-02 | 1013211505
2024-04-03 | 1024644899
2024-04-04 | 946381614
2024-04-05 | 738087541
2024-04-06 | 483220248
2024-04-07 | 420846719
2024-04-08 | 401018407
2024-04-09 | 569448490
2024-04-10 | 719969817
2024-04-11 | 707768386
2024-04-12 | 574868243
2024-04-13 | 438375884
2024-04-14 | 489676785
2024-04-15 | 716785414
2024-04-16 | 995192034
2024-04-17 | 1090343869
2024-04-18 | 1097734041
2024-04-19 | 1243963784
2024-04-20 | 1243226505
2024-04-21 | 1324137287
2024-04-22 | 1389995216
2024-04-23 | 1319263403
2024-04-24 | 1343590863
2024-04-25 | 1296078392
2024-04-26 | 1113044401
2024-04-27 | 767327182
2024-04-28 | 645350538
2024-04-29 | 553574601
2024-04-30 | 405374399
2024-05-01 | 331414057
2024-05-02 | 337089730
2024-05-03 | 464053052
2024-05-04 | 463522318
2024-05-05 | 488077724
2024-05-06 | 497604360
2024-05-07 | 539856619
2024-05-08 | 538757086
2024-05-09 | 461214763
2024-05-10 | 391515215
2024-05-11 | 354769661
2024-05-12 | 321065834
2024-05-13 | 300813613
2024-05-14 | 271346492
2024-05-15 | 271903351
2024-05-16 | 285976283
2024-05-17 | 339098435
2024-05-18 | 321076011
2024-05-19 | 327601686
2024-05-20 | 307822771
2024-05-21 | 306371811
2024-05-22 | 334338609
2024-05-23 | 322125074
2024-05-24 | 335486341
2024-05-25 | 318576341
2024-05-26 | 279601655
2024-05-27 | 290938443
2024-05-28 | 326976536
2024-05-29 | 331339750
2024-05-30 | 334553406
2024-05-31 | 356182647
2024-06-01 | 337983216
2024-06-02 | 355459878
2024-06-03 | 384350177
2024-06-04 | 331244383
2024-06-05 | 333226949
2024-06-06 | 328571358
2024-06-07 | 303953988
2024-06-08 | 286945570
2024-06-09 | 314714750
2024-06-10 | 365737258
2024-06-11 | 413786285
2024-06-12 | 418771850
2024-06-13 | 389697451
2024-06-14 | 352911483
2024-06-15 | 334625429
2024-06-16 | 312426868
2024-06-17 | 285058260
2024-06-18 | 265272533
2024-06-19 | 275611466
2024-06-20 | 265428396
2024-06-21 | 248582648
2024-06-22 | 255287689
2024-06-23 | 243839801
2024-06-24 | 222671214
2024-06-25 | 206566484
2024-06-26 | 191787960
2024-06-27 | 188409807
2024-06-28 | 188057378
2024-06-29 | 182749246
2024-06-30 | 208076424
2024-07-01 | 228891744
2024-07-02 | 273139705
2024-07-03 | 303782105
2024-07-04 | 298340006
2024-07-05 | 269230323
2024-07-06 | 228005015
2024-07-07 | 254872081
2024-07-08 | 229196425
2024-07-09 | 196422747
2024-07-10 | 190801712
2024-07-11 | 193279390
2024-07-12 | 208940924
2024-07-13 | 228870865
2024-07-14 | 217568717
2024-07-15 | 195160461
2024-07-16 | 197985873
2024-07-17 | 208478081
2024-07-18 | 199972002
2024-07-19 | 183227115
2024-07-20 | 165609466
2024-07-21 | 169389907
2024-07-22 | 181890440
2024-07-23 | 187278909
2024-07-24 | 202592968
2024-07-25 | 192611034
2024-07-26 | 180639755
2024-07-27 | 184321878
2024-07-28 | 191990872
2024-07-29 | 187196578
2024-07-30 | 184528445
2024-07-31 | 176911408
2024-08-01 | 154008590
2024-08-02 | 178658150
2024-08-03 | 182659010
2024-08-04 | 196575289
2024-08-05 | 114715566
2024-08-06 | 32392148
2024-08-07 | 179980545
2024-08-08 | 195306124
2024-08-09 | 186820331
2024-08-10 | 178795059
2024-08-11 | 171642303
2024-08-12 | 172699017
2024-08-13 | 154982403
2024-08-14 | 172464515
2024-08-15 | 151495275
2024-08-16 | 425574263
2024-08-17 | 175928520
2024-08-18 | 192357204
2024-08-19 | 193898847
2024-08-20 | 194085798
2024-08-21 | 208640318
2024-08-22 | 118993519
2024-08-23 | 196077056
2024-08-24 | 179984504
2024-08-25 | 207138517